Systematically higher Ki67 scores on core biopsy samples compared to corresponding resection specimen in breast cancer: A multi-operator and multi-institutional study

Balazs Acs, MD, PhD1,2,3, Samuel C.Y. Leung, MSc4, Kelley M. Kidwell, PhD5, Indu Arun, MD6, Renaldas Augulis, MSc7, Sunil S. Badve, MBBS, MD, FRCPath8, Yalai Bai,MD, PhD1, Anita L. Bane, PhD, MB, BAO, BCh9, John M.S. Bartlett, BSc, PhD, FRCPath10,11, Jane Bayani, PhD10, Gilbert Bigras, MD, PhD12, Annika Blank, MD13, Signe Borgquist, MD, PhD14, Henk Buikema, PhD15, Martin C. Chang, MD, PhD, FRCPC16, Robin L. Dietz, MD17, Andrew Dodson, MPhil, FIBMS, CSci18, Anna Ehinger, MD19, Susan Fineberg, MD20, Cornelia M. Focke, MD, PhD21, Dongxia Gao, MD4, Allen M. Gown, MD22, Carolina Gutierrez, MD, FCAP23, Johan Hartman, MD, PhD2,3, Judith C. Hugh, MD24, Zuzana Kos MD, FRCPC25, Anne-Vibeke Lænkholm, MD26, Arvydas Laurinavicius, MD, PhD7, Richard M. Levenson, MD27, Rustin Mahboubi-Ardakani, BSc27, Mauro G. Mastropasqua, MD28, Takuya Moriya, MD, PhD29, Sharon Nofech-Mozes MD30, C. Kent Osborne, MD23, Liron Pantanowitz, MD17, Frédérique M. Penault-Llorca, MD, PhD31, Tammy Piper, MSc11, Mary Anne Quintayo, BSc10, Tilman T. Rau, MD13, Stefan Reinhard, BSc13, Stephanie Robertson, MD,PhD2,3, Takashi Sakatani, MD, PhD32, Roberto Salgado, MD, PhD33,34, Melanie Spears, PhD10, Jane Starczynski, PhD35, Tomoharu Sugie, MD, PhD36, Bert van der Vegt, MD, PhD15, Giuseppe Viale, MD, FRCPath28,37, Shakeel Virk, BSc38, Lila A. Zabaglo, PhD39, , Daniel F. Hayes, MD40, Mitch Dowsett, PhD, BSc39, Torsten O. Nielsen, MD, PhD, FRCPC4 and David L. Rimm, MD, PhD1 on behalf of the International Ki67 in Breast Cancer Working Group of the Breast International Group and North American Breast Cancer Group (BIG-NABCG)

1Department of Pathology, Yale University School of Medicine, New Haven, Connecticut, USA; 2Department of Oncology and Pathology, Karolinska Institutet, Stockholm, Sweden; 3Karolinska University Hospital, Stockholm, Sweden; 4University of British Columbia, Vancouver, British Columbia, Canada; 5Department of Biostatistics, School of Public Health, University of Michigan, Ann Arbor, Michigan, USA; 6Tata Medical Center, Kolkata, West Bengal, India; 7Vilnius University Faculty of Medicine and National Center of Pathology, Vilnius University Hospital Santaros Clinics, Vilnius, Lithuania; 8Indiana University Simon Cancer Center, Indianapolis, Indiana, USA; 9Juravinski Hospital and Cancer Centre, McMaster University, Hamilton, Ontario, Canada; 10Ontario Institute for Cancer Research, Toronto, Ontario, Canada; 11Edinburgh Cancer Research Centre, Western General Hospital, Edinburgh, United Kingdom; 12Department of Laboratory Medicine and Pathology, University of Alberta, Edmonton, Alberta, Canada; 13Universität Bern Institut für Pathologie, Murtenstrasse, Bern, Switzerland; 14Division of Oncology and Pathology, Department of Clinical Science, Lund University, Sweden; 15University Medical Center Groningen, Groningen, The Netherlands; 16Department of Pathology & Laboratory Medicine, University of Vermont Medical Center, Burlington, Vermont, USA; 17Department of Pathology, University of Pittsburgh, Pittsburgh, Pennsylvania, USA; 18UK NEQAS for Immunocytochemistry and In-Situ Hybridisation, London, United Kingdom; 19Department of Clinical Genetics and Pathology, Skane University Hospital, Lund University, Lund, Sweden; 20Montefiore Medical Center and the Albert Einstein College of Medicine, Bronx, New York, USA; 21Dietrich-Bonhoeffer Medical Center, Neubrandenburg, Mecklenburg-Vorpommern, Germany; 22PhenoPath Laboratories, Seattle, Washington, USA; 23Lester and Sue Smith Breast Center and Dan L. Duncan Comprehensive Cancer Center, Baylor College of Medicine, Houston, Texas, USA; 24University of Alberta, Edmonton, Alberta, Canada; 25University of Ottawa and The Ottawa Hospital, Ottawa, Ontario, Canada; 26Department of Surgical Pathology, Zealand University Hospital, Slagelse, Denmark; 27Department of Medical Pathology and Laboratory Medicine, University of California Davis Medical Center, Sacramento, California, USA; 28European Institute of Oncology, Milan, Italy; 29Kawasaki Medical School, Kurashiki, Okayama Prefecture, Japan; 30University of Toronto Sunnybrook Health Sciences Centre, Toronto, Ontario, Canada; 31Centre Jean Perrin and Université d'Auvergne, Clermont-Ferrand, France; 32Nippon Medical School, Bunkyo-ku, Tokyo, Japan; 33Department of Pathology, GZA-ZNA, Antwerp, Belgium; 34Peter MacCallum Cancer Centre, University of Melbourne, Melbourne, Victoria, Australia; 35Birmingham Heart of England, National Health Service, Birmingham, United Kingdom; 36Kansai Medical University, Hirakata, Osaka, Japan; 37European Institute of Oncology, and University of Milan, Milan, Italy; 38Department of Pathology and Molecular Medicine , Queen's University, Kingston, Ontario, Canada; 39The Institute of Cancer Research, London, United Kingdom;; 40University of Michigan Rogel Cancer Center, Ann Arbor, Michigan, USA

Corresponding authors:

David L. Rimm, M.D.- Ph.D., Professor of Pathology, Director, Yale Pathology Tissue Services, Department of Pathology, BML 116, Yale University School of Medicine, 310 Cedar Street P.O. Box 208023, New Haven, CT 06520-8023. Phone: 203-737-4204; E-mail: david.rimm@yale.edu

Balázs Ács, M.D.- PhD., Pathologist, Senior Postdoctoral Research Fellow, Department of Oncology and Pathology, Karolinska Institutet, Stockholm, Sweden;

Department of Clinical Pathology and Cytology, Karolinska University Laboratory;

Address: CCK, Karolinska Institutet, R8:04, 17176 Stockholm, Sweden. Phone: +46 707 82 85 71; Email: balazs.acs@ki.se

Running title: Ki67 on core biopsy and resection specimen: A multi-institutional study

Abstract

Ki67 has potential clinical importance in breast cancer but yet to see broad acceptance due to inter-laboratory variability. Here we tested an open source and calibrated automated digital image analysis (DIA) platform to: (i) investigate the comparability of Ki67 measurement across corresponding core biopsy and resection specimen cases, and (ii) assess section to section differences in Ki67 scoring. Two sets of 60 previously stained slides containing 30 core-cut biopsy and 30 corresponding resection specimens from 30 ER positive breast cancer cases were sent to 17 participating labs for automated assessment of average Ki67 expression. The blocks were centrally cut and stained for Ki67 (Mib-1 antibody). The QuPath platform was used to evaluate tumoral Ki67 expression. Calibration of the DIA method was as performed in published studies. A guideline for building an automated Ki67 scoring algorithm was sent to participating labs. Very high correlation and no systematic error (p=0.08) was found between consecutive Ki67 IHC sections. Ki67 scores are higher for core biopsy slides compared to paired whole sections from resections (p<=0.001; median difference: 5.31%). The systematic discrepancy between core biopsy and corresponding whole sections was likely due to pre-analytical factors (tissue handling, fixation). Therefore, Ki67 IHC should be tested on core biopsy samples to best reflect the biological status of the tumor.

Introduction

It has been long acknowledged that the immunohistochemical (IHC) detection of the Ki67 positive tumor cells provide important clinical information in breast cancer 1. More recently, Ki67 gained an increasing importance in estrogen receptor–positive and HER2-negative patients since its clinical utility was established to identify those who do not need adjuvant chemotherapy in this T1-2, N0-1 patient group 2. However, Ki67 has not been adopted widely for clinical care due to unacceptable reproducibility across laboratories 3,4.

The International Ki67 in Breast Cancer Working Group (IKWG) has originally published consensus recommendations in 2011 for best practices in the application of Ki67 IHC in breast cancer 5. According to this consensus, parameters that predominantly influence Ki67 IHC results can be grouped into pre-analytical (type of biopsy, tissue handling), analytical (IHC protocol), interpretation and scoring, and data analysis steps 5. As the scoring method was the largest contributor to test variability 6, the IKWG has undertaken serious efforts to standardize scoring of pathologists’ visually read Ki67 7,8. In multi-institutional studies, standardized Ki67 scoring methods reached pre-defined threshold for adequate reproduciblity 8,9, although only in settings where calibration training was first completed and somewhat tedious counting methods employed. In this context, recently updated guidelines by the IKWG now recommend Ki67 IHC for clinical adoption in specific situations, including the identification of very low or very high proliferation indeces that render more expensive gene expression tests unnecessary 2.

An important additional issue that can create variability in Ki67 measurements is the type of specimen (core biopsy vs excision) and its effect on Ki67 scoring in a multi-center setting 2. Indeed, the IKWG recommended use of core biopsies (CB), based on apparent superior results for Ki67 when compared to visual evaluation was compared to that of whole sections (WS).

In this multi-observer and multi-institutional study, we aimed to investigate the comparability of Ki67 measurements across corresponding core biopsy and resection specimens from the same breast cancer cases, when evaluated using a standardized, automated reading system. Furthermore, we assessed between-(consecutive) section differences in Ki67 scoring. The reproducibility among pathologists using digital Ki67 scoring was also investigated and compared with standardized pathologist-based visual scoring.

Materials and Methods

Patients

Thirty cases of ER positive breast cancer used in phase 3 of IKWG initiatives collecting 15 cases from UK and 15 cases from Japan designed to cover a range of Ki67 scores 8 were employed in this study. No outcome data were collected for this cohort. Patient selection was irrespective of patients’ age at diagnosis, grade, tumor size or lymph node status. The clinicopathological characteristics of these 30 cases can be found in our previous publications 8,9. The study was approved the British Columbia Cancer Agency’s Clinical Research Ethics Board (H10-03420).

Tissue preparation and immunohistochemistry

Preparation of the Ki67 slides of the first cohort has been previously described 8.  Briefly, the corresponding core-cut biopsy and surgical resection blocks were centrally cut and stained with Ki67, resulting in 60 Ki67 slides from 30 cases. The IHC reaction was performed using monoclonal antibody Mib-1 at dilution 1:50 (DAKO UK, Cambridgeshire, UK) using an automated staining system (Ventana Medical Systems, Tucson, AZ, USA) according to the consensus criteria established by the International Ki67 Working Group 5. Sections

from the same block were stained in a single immunohistochemistry run, except for four cases

where the staining was performed in two different runs. This approach effectively controls for any technical variation in staining.

Sample distribution

Twenty volunteer pathologists from 15 countries, most of whom participated in the previous Phase 3A study, were invited to participate. Four adjacent sections from each of the 60 blocks were centrally stained as follows: the first section with haematoxylin and eosin (H&E), the second with p63 (a myoepithelial marker, to assist the distinction of DCIS from invasive breast cancer) and the third to fourth with Ki67 (designated as slide sets 1–2).

The Aperio ScanScope XT platform was used at 20x magnification to digitize the slides (pixel size: 0.4987 µm × 0.4987 µm) that were uploaded to a server and distributed as digital images. Seventeen pathologists successfully completed the study (Fig 1).

Digital image analysis (DIA)

The QuPath open-source software platform was used to build automated Ki67 scoring algorithms for breast cancer 10. A detailed guideline for setting up and building an automated Ki67 scoring algorithm was sent to the participating labs. All the participating labs were requested to build their own Ki67 scoring algorithm following the instructions and apply them on these 60 slides. The complete step by step instructions are available in Supplementary file 1. Calibration of the DIA method was performed in our previous studies demonstrating very good reproducibility among users 11,12. Briefly, after the whole invasive cancer area on a digitized slide was annotated, hematoxylin and DAB stain estimates for each case were refined using the “estimate stain vectors” command. We used watershed cell detection 13 to segment the cells in the image with the following settings: Detection image: Optical density sum; requested pixel size: 0.5 µm; background radius: 8 µm; median filter radius: 0 µm; sigma: 1.5 µm; minimum cell area: 10 µm2; maximum cell area: 400 µm2; threshold: 0.1; maximum background intensity: 2. In order to classify detected cells into tumor cells, immune cells, stromal cells, necrosis and others (false detections, background) (Supplementary file 1), we used random trees as a supervised machine-learning method. The features used in the classification are described in Supplementary Table 1. After setting the optimal color deconvolution and cell segmentation, two independent classifiers were trained on a randomly selected, pre-defined core biopsy (CB classifier) and a resection specimen slide (WSI classifier). Both CB and WSI classifiers were run on both CB slides and resection specimen slides in order to adjust for potentially different characteristics of the two specimen types (Fig 2). The reason why we asked each lab to build their own algorithm instead of using the same pre-trained and locked down Ki67 algorithm was to mimic clinical practice. As of the date of the study, no generalizable Ki67 scoring algorithm was available that provides whole slide scoring. Thus, theoretically, all the labs would need to adjust/ optimize any such DIA approach to their lab characteristics (different fixation, different antibodies and IHC protocols etc.) necessitating a lab-specific DIA approach.

Statistical analysis

For statistical analysis, SPSS 22 software (IBM, Armonk, USA) software was used. Degree of agreement was evaluated by Bland-Altman plot and linear regression. To assess differences between specimen type the Wilcoxon signed-rank test was applied, since the data was not normally distributed. Data were visualized using boxplot, spaghetti plot, and dot-plot.

Results

Between-(consecutive) section difference in Ki67 scoring

Very high correlation and no systematic error (bias: -0.6; p=0.08) was found between the two consecutive (serial) sections regarding Ki67 scores. If the Ki67 score is higher for a given case, the difference between the sections tends to be also greater (proportional error p=0.002, Fig 3.), however this difference did not reach clinical relevance.

Specimen type (CB vs resection specimen) difference in Ki67 scoring

A low correlation was found between core biopsy and whole section excision images (Fig 4). Ki67 scores were higher when determined on core biopsy slides compared to paired whole sections (p<=0.001; median difference: 5.31%; IQR: 11.50 %) from subsequent surgical excisions of the same tumor. Systematic error occurred between specimens from the same patient as core biopsy Ki67 scores is greater, with a clinically-relevant mean difference of 6.6 (bias p=0.001). The limits of agreement also have to be considered wide from a clinical perspective (between -13.7 and 27). Furthermore, Ki67 scores on CB is even higher compared to WS on cases with higher Ki67 scores (proportional error p=0.001). Moreover, the variability of differences in Ki67 scores between CB and WS showed an increasing trend, proportional to the magnitude of Ki67 score (Fig 4). The same results were found irrespective of the origin of the specimens (CB vs WS p<0.001 for both UK and Japan cases Fig 5).

Discussion

In this study, we observed that clinically relevant and systematic discrepancies occurred in Ki67 scores between core biopsy and corresponding surgical specimens when evaluated with an automated reading system. Overall, Ki67 scores were higher on CB compared to WS samples. Furthermore, this discrepancy was even more pronounced in tumors that expressed higher levels of Ki67 in general.

Ki67 is one of the most promising yet controversial biomarkers in breast cancer with limited adoption into clinical practice due to its high inter- and intra-laboratory variability 3,14. Although the IKWG set up a guideline in 2011 to improve pre-analytical and analytical performance, inter-laboratory protocols still demonstrated low reproducibility related to different sampling, fixation, antigen retrieval, staining and scoring methods 5,6.  As the latter was the largest single contributor to assay variability, the IKWG has undertaken multi-institution efforts that have standardized visual scoring of Ki67 in a manner which requires on-line calibration tools and careful scoring of several hundred cells, which may or may not be ideal for pathologists in daily practice with time-constraints 7,8. This result suggests that digital solutions may still be required to address this issue.

The rise of digital image analysis (DIA) platforms has improved capacity and automation in biomarker evaluation 15,16. DIA platforms are able to assess nuclear IHC biomarkers such as Ki67, and numerous studies have been conducted to compare human visual scoring with DIA platforms 11,17-25. Although the latest guideline of IKWG recommends Ki67 for clinical practice in specific situations, the type of specimen as a potential pre-analytical factor contributing to Ki67 variability was not specifically investigated in a multi-operator/multi-center setting. In this study we aimed to address these biospecimen questions including assessment by specimen type and between serial sections.

One explanation for our finding would be the presence of tumor heterogeneity, and the broader field of review in a whole section. However, one would expect that this cause of discrepancy would result in random discordance, not the consistent finding that core biopsies were more sensitive than whole sections for Ki67 determination. Rather, we conclude lower Ki67 in resection specimens is more easily explained by pre-analytical factors. For example, since longer times to fixation occur with resection specimens compared to CB, persistent cell division will occur even in an unfixed, hypoxic environment.  Further, epitope degradation also occurs with prolonged time to fixation 26-28.

In addition, one can expect that hot spot scoring might lead to less discrepancy between CB and WS because it considers only the hottest area of Ki67 positivity (highest percentiles of Ki67 distribution) on both specimen types, while global assessment evaluates the total Ki67 distribution which can be variable. However, there remains a fundamental issue of exact hot spot definition and where pathologists set its boundaries. Moreover, The International Ki67 Working Group has recommended global scoring over hot spot as it did show a consistent trend towards increased reproducibility in both core biopsy8 and excision9 specimens.

Additional support for the conclusion that the difference in Ki67 between CB and WS is provided by the observation of clinically relevant differences between specimens in cases from different institutions used in this study, independently scored multiple times by 17 pathologists.  Although many studies focused on assessing the level of agreement between CB and resection samples in Ki67 scoring; consensus was not possible due to lack of standardization 29.

Our results are consistent with previous results showing poor/moderate concordance (κ = 0.195 – 0.814) occurring between CB and resection specimen in Ki67 scoring  1,30-42. However, some studies showed higher Ki67 scores on resection samples 32,33,35.  This discrepancy among studies may be due to lack of standardization in methodology leading to different scoring methods, which we have previously demonstrated to be highly variable2. Moreover, inter-institutional discrepancies could also be the result of different antibodies and protocols used to detect Ki67, different tissue handling/fixation protocols and at some point tumor Ki67  heterogeneity since Ki67 is heterogeneous in tumors 5.  Thus, our findings provide further support to the latest IKWG recommendations and provide a consensus that Ki67 should be ideally tested on CB samples because it minimizes many fixation problems as Ki67 IHC is more sensitive than ER or HER2 to variabilities in fixation 2.

There are a number of limitations in this study. This study only focused on analytical and preanalytical questions, therefore we cannot demonstrate the clinical validation of the calibrated tool. There are many other studies that address the prognostic or predictive value of this test and that goal was beyond the scope of this effort. Further, the Ki67 assessments were based on biospecimens from only 2 central sites.  While the participating pathologists within the IKWG represented 15 countries, specimens were centrally acquired and stained. Whereas other investigators have compared specimens from multiple different sites 6,43,44 we limited the number of sites to remove the variables associated with the technical aspect of the stain.  Finally, while the core cut biopsy and resection are from the same case, only a single core was assessed.  Thus, we could be missing heterogeneity seen in larger resection specimens. However, since examination of a single core cut represents the clinical standard of care, we did not pursue multiple cores.

In conclusion, while we find no significant difference in digitally-assessed Ki67 index between serial sections, we do find a systematic discrepancy between core biopsy and corresponding whole sections – core biopsy samples yield higher scores (likely due to pre-analytical factors including more standard and prompt tissue handling, fixation, etc.). Therefore, this works suggests that Ki67 IHC tested on CB samples should be preferred to excision specimens in clinical decision-making, because doing so will preclude many pre-analytical factors.

Acknowledgements

Balazs Acs is supported by The Swedish Society for Medical Research (Svenska Sällskapet för Medicinsk Forskning) Postdoctoral grant, The Fulbright Program and The Rosztoczy Foundation Scholarship Program. Mitch Dowsett, Daniel Hayes, (many others) and David Rimm are supported by the Breast Cancer Research Foundation.

Conflict of Interest

In the last 12 months, Dr. Rimm has served as a consultant for advisor to Astra Zeneca, Agendia, Amgen, Cell Signaling Technology, Cepheid, Danaher, Konica-Minolta, Merck, PAIGE.AI, Regeneron, and Sanofi. Dr. Nielsen reports a proprietary interest in PAM50/Prosigna and consultant work with Veracyte. Dr. Hartman was former member of the advisory board at Visiopharm A/S. Dr. Hartman has obtained speaker’s honoraria or advisory board remunerations from Roche, Novartis, AstraZeneca, Eli Lilly, Pfizer and MSD. Dr. Hartman is co-founder and shareholder of Stratipath AB. Dr. Hartman has received institutional research grants from Cepheid and Novartis.

DFH reports research financial support unrelated to this study but provided to his institution during conduct and analysis of this study from Astra Zeneca, Eli Lilly Company, Merrimack Pharmaceuticals, Inc. (Parexel Intl Corp), Menarini/Silicon BioSystems, Veridex and Janssen Diagnostics (Johnson & Johnson), Pfizer, and Puma Biotechnology, Inc. (subcontract Wash Univ St. Louis to Univ Mich).

DFH reports personal income unrelated to this study for consulting or advisory board activities from BioVeca, Cellworks, Cepheid, EPIC Sciences, Freenome, L-Nutra, Oncocyte, Predictus BioSciences, Salutogenic Innovations, Turnstone Biologics, and Tempus.  Likewise unrelated to this study, DFH reports personally held stock options from InBiomotion.

Other authors have no conflict of interest.

References

1.	Smith, I., et al. Long-term outcome and prognostic value of Ki67 after perioperative endocrine therapy in postmenopausal women with hormone-sensitive early breast cancer (POETIC): an open-label, multicentre, parallel-group, randomised, phase 3 trial. Lancet Oncol 21, 1443-1454 (2020).

2.	Nielsen, T.O., et al. Assessment of Ki67 in Breast Cancer: Updated Recommendations from the International Ki67 in Breast Cancer Working Group. J Natl Cancer Inst (2020).

3.	Harris, L.N., et al. Use of Biomarkers to Guide Decisions on Adjuvant Systemic Therapy for Women With Early-Stage Invasive Breast Cancer: American Society of Clinical Oncology Clinical Practice Guideline. J Clin Oncol 34, 1134-1150 (2016).

4.	Andre, F., et al. Use of Biomarkers to Guide Decisions on Adjuvant Systemic Therapy for Women With Early-Stage Invasive Breast Cancer: ASCO Clinical Practice Guideline Update-Integration of Results From TAILORx. J Clin Oncol 37, 1956-1964 (2019).

5.	Dowsett, M., et al. Assessment of ki67 in breast cancer: recommendations from the international ki67 in breast cancer working group. J Natl Cancer Inst 103, 1656-1664 (2011).

6.	Polley, M.Y., et al. An international Ki67 reproducibility study. J Natl Cancer Inst 105, 1897-1906 (2013).

7.	Polley, M.Y., et al. An international study to increase concordance in Ki67 scoring. Mod Pathol 28, 778-786 (2015).

8.	Leung, S.C.Y., et al. Analytical validation of a standardized scoring protocol for Ki67: phase 3 of an international multicenter collaboration. NPJ Breast Cancer 2, 16014 (2016).

9.	Leung, S.C.Y., et al. Analytical validation of a standardised scoring protocol for Ki67 immunohistochemistry on breast cancer excision whole sections: an international multicentre collaboration. Histopathology 75, 225-235 (2019).

10.	Bankhead, P., et al. QuPath: Open source software for digital pathology image analysis. Sci Rep 7, 16878 (2017).

11.	Acs, B., et al. Ki67 reproducibility using digital image analysis: an inter-platform and inter-operator study. Lab Invest 99, 107-117 (2019).

12.	Aung, T.N., et al. A new tool for technical standardization of the Ki67 immunohistochemical assay. Mod Pathol 34, 1261-1270 (2021).

13.	Malpica, N., et al. Applying watershed algorithms to the segmentation of clustered nuclei. Cytometry 28, 289-297 (1997).

14.	Kos, Z. & Dabbs, D.J. Biomarker assessment and molecular testing for prognostication in breast cancer. Histopathology 68, 70-85 (2016).

15.	Kayser, K., Gortler, J., Borkenfeld, S. & Kayser, G. How to measure diagnosis-associated information in virtual slides. Diagn Pathol 6 Suppl 1, S9 (2011).

16.	Robertson, S., Azizpour, H., Smith, K. & Hartman, J. Digital image analysis in breast pathology-from image processing techniques to artificial intelligence. Transl Res 194, 19-35 (2018).

17.	Wienert, S., et al. CognitionMaster: an object-based image analysis framework. Diagn Pathol 8, 34 (2013).

18.	Laurinavicius, A., et al. A methodology to ensure and improve accuracy of Ki67 labelling index estimation by automated digital image analysis in breast cancer tissue. Breast Cancer Res 16, R35 (2014).

19.	Klauschen, F., et al. Standardized Ki67 Diagnostics Using Automated Scoring-Clinical Validation in the GeparTrio Breast Cancer Study. Clin Cancer Res. 21, 3651-3657 (2015).

20.	Stalhammar, G., et al. Digital image analysis outperforms manual biomarker assessment in breast cancer. Mod Pathol 29, 318-329 (2016).

21.	Acs, B., et al. Reproducibility and Prognostic Potential of Ki-67 Proliferation Index when Comparing Digital-Image Analysis with Standard Semi-Quantitative Evaluation in Breast Cancer. Pathol Oncol Res 24, 115-127 (2018).

22.	Zhong, F., et al. A Comparison of Visual Assessment and Automated Digital Image Analysis of Ki67 Labeling Index in Breast Cancer. PLoS One 11, e0150505 (2016).

23.	Stalhammar, G., et al. Digital image analysis of Ki67 in hot spots is superior to both manual Ki67 and mitotic counts in breast cancer. Histopathology (2017).

24.	Rimm, D.L., et al. An international multicenter study to evaluate reproducibility of automated scoring for assessment of Ki67 in breast cancer. Mod Pathol 32, 59-69 (2019).

25.	Robertson, S., Acs, B., Lippert, M. & Hartman, J. Prognostic potential of automated Ki67 evaluation in breast cancer: different hot spot definitions versus true global score. Breast Cancer Res Treat 183, 161-175 (2020).

26.	Arima, N., et al. The importance of tissue handling of surgically removed breast cancer for an accurate assessment of the Ki-67 index. J Clin Pathol 69, 255-259 (2016).

27.	Mengel, M., et al. Inter-laboratory and inter-observer reproducibility of immunohistochemical assessment of the Ki-67 labelling index in a large multi-centre trial. J Pathol 198, 292-299 (2002).

28.	Benini, E., Rao, S., Daidone, M.G., Pilotti, S. & Silvestrini, R. Immunoreactivity to MIB-1 in breast cancer: methodological assessment and comparison with other proliferation indices. Cell Prolif 30, 107-115 (1997).

29.	Kalvala, J., Parks, R.M., Green, A.R. & Cheung, K.L. Concordance between core needle biopsy and surgical excision specimens for Ki-67 in breast cancer - a systematic review of the literature. Histopathology (2021).

30.	Janeva, S., et al. Comparison of breast cancer surrogate subtyping using a closed-system RT-qPCR breast cancer assay and immunohistochemistry on 100 core needle biopsies with matching surgical specimens. BMC Cancer 21, 439 (2021).

31.	Greer, L.T., et al. Does breast tumor heterogeneity necessitate further immunohistochemical staining on surgical specimens? J Am Coll Surg 216, 239-251 (2013).

32.	Chen, X., et al. Preoperative core needle biopsy is accurate in determining molecular subtypes in invasive breast cancer. BMC Cancer 13, 390 (2013).

33.	Chen, X., et al. Surgery time interval and molecular subtype may influence Ki67 change after core needle biopsy in breast cancer patients. BMC Cancer 15, 822 (2015).

34.	Kalkman, S., Bulte, J.P., Halilovic, A., Bult, P. & van Diest, P.J. Brief fixation does not hamper the reliability of Ki67 analysis in breast cancer core-needle biopsies: a double-centre study. Histopathology 66, 380-387 (2015).

35.	Al Nemer, A. The Performance of Ki-67 Labeling Index in Different Specimen Categories of Invasive Ductal Carcinoma of the Breast Using 2 Scoring Methods. Appl Immunohistochem Mol Morphol 25, 86-90 (2017).

36.	Pölcher, M., et al. Concordance of the molecular subtype classification between core needle biopsy and surgical specimen in primary breast cancer. Arch Gynecol Obstet (2021).

37.	Liu, M., et al. Core needle biopsy as an alternative to whole section in IHC4 score assessment for breast cancer prognostication. J Clin Pathol 71, 1084-1089 (2018).

38.	You, K., et al. Comparison of Core Needle Biopsy and Surgical Specimens in Determining Intrinsic Biological Subtypes of Breast Cancer with Immunohistochemistry. J Breast Cancer 20, 297-303 (2017).

39.	Chen, J., et al. Comparison of Core Needle Biopsy and Excision Specimens for the Accurate Evaluation of Breast Cancer Molecular Markers: a Report of 1003 Cases. Pathol Oncol Res 23, 769-775 (2017).

40.	Focke, C.M., Decker, T. & van Diest, P.J. Reliability of the Ki67-Labelling Index in Core Needle Biopsies of Luminal Breast Cancers is Unaffected by Biopsy Volume. Ann Surg Oncol 24, 1251-1257 (2017).

41.	Meattini, I., et al. Impact of molecular subtypes classification concordance between preoperative core needle biopsy and surgical specimen on early breast cancer management: Single-institution experience and review of published literature. Eur J Surg Oncol 43, 642-648 (2017).

42.	Robertson, S., Rönnlund, C., de Boniface, J. & Hartman, J. Re-testing of predictive biomarkers on surgical breast cancer specimens is clinically relevant. Breast Cancer Res Treat 174, 795-805 (2019).

43.	Acs, B., et al. Variability in Breast Cancer Biomarker Assessment and the Effect on Oncological Treatment Decisions: A Nationwide 5-Year Population-Based Study. Cancers (Basel) 13(2021).

44.	Ekholm, M., et al. Highly reproducible results of breast cancer biomarkers when analysed in accordance with national guidelines - a Swedish survey with central re-assessment. Acta Oncol 54, 1040-1048 (2015).

Figure Legends

Figure 1 Study design. Thirty cases of ER+ breast cancer were enrolled collecting 15 cases from UK and 15 cases from Japan. Corresponding core-cut biopsy and surgical resection blocks were centrally cut two adjacent sections per case and stained with Ki67. Seventeen pathologists from 15 countries were given 60 slides (30 Core cut biopsy slides and 30 surgical resection specimen slides) of Ki67 to score.

Figure 2 Representative pictures of digital-image analysis (DIA) masks on a resection specimen (A, B) and a core biopsy case (C, D). Blue corresponds to Ki67 negative tumor cells, red indicates Ki67 positive tumor cells, green indicates stromal cells and purple marks immune cells. Black corresponds to necrosis and yellow marks other detections (false cell detections, noise).

Figure 3 Between-(consecutive) section difference in Ki67 scoring.  Bland-Altman plot comparing Ki67 scores between consecutive sections (A). Orange dashed line corresponds to the expected mean zero difference between Ki67 LI scores of the two sections. Red line represents the observed mean difference between Ki67 LI scores of the two sections, namely the observed bias (red dashed lines are the CI of the observed mean difference). Blue lines illustrate the range of agreement (lower and upper limit of agreement) based on 95% of differences (blue dashed lines are the CI of the limits of agreement). Black line is the fitted regression line to detect potential proportional error (black dashed lines are the CI of the regression line). Figure 4B represents the scatter plot with fitted regression between the Ki67 scores of the two consecutive sections.

Figure 4 Between-specimen (CB vs resection specimen) difference in Ki67 scoring. Bland-Altman plot comparing Ki67 scores between specimens (A). Orange dashed line corresponds the expected mean zero difference between Ki67 LI scores of the two sections. Red line represents the observed mean difference between Ki67 LI scores of the two sections, namely the observed bias (red dashed lines are the CI of the observed mean difference). Blue lines illustrate the range of agreement (lower and upper limit of agreement) based on 95% of differences (blue dashed lines are the CI of the limits of agreement). Black line is the fitted regression line to detect potential proportional error (black dashed lines are the CI of the regression line). Figure 4B shows the distributions of Ki67 scores of the two specimens. The bottom/top of the boxes represent the first (Q1)/third (Q3) quartiles, the bold line inside the box represents the median and the two bars outside the box represent the lowest/highest datum still within 1.5 × the interquartile range (Q3-Q1).  Figure 4C represents the scatter plot with fitted regression between the Ki67 scores of the two specimens.

Figure 5 Between-specimen (CB vs resection specimen) difference in Ki67 scoring by case and by origin of the cases. Figure 5A represents cases collected in the United Kingdom with representative Ki67 IHC images of corresponding CB and resection specimens. Figure 5B represents cases collected in Japan with representative Ki67 IHC images of corresponding CB and resection specimens. The bottom/top of the boxes represent the first (Q1)/third (Q3) quartiles, the bold line inside the box represents the median and the two bars outside the box represent the lowest/highest datum still within 1.5 × the interquartile range (Q3-Q1).  Outliers are represented with circles, extreme outliers with asterisk.